DEVICE_MODE: (custom states) OUT

- UNKNOWN

- ON

- OFF

- STANDBY

- POWER_DOWN

- POWER_UP

- INTERLOCK

DEVICE_MODE_POWER: (normal states) IN

- ON

- OFF

DEVICE_STATUS: (custom states) OUT

- UNKOWN

- OK

- WARNING

- ERROR

DEVICE_CONTROL: (cs) OUT

- REMOTE

- LOCAL

TOL_CHECK_MODE: (cs)

- ABS

- REL

AQN_STATUS: (bits)

- NOT_OK

- BAD_QUALITY

- DIFFERENT_FROM_SETTING

- OUT_OF_RANGE

- BUSY

- TIMEOUT

DETAILED_STATUS: (bits) OUT

- To be named

GSI_ERROR:

- Error_string

- Error_code

- Error_timestamp