Usage of 3rd party code

---
1. The example driver and the SVN

---
click here
Check out

---
Commit

---
SVN Ignore

---
2. Include driver into FESA project

---
Class:
Deploy-Unit:
DUMMY_DEVICE_HOME = ../DummyDeviceDriver
COMPILER_FLAGS += -I$(DUMMY_DEVICE_HOME)
LINKER_FLAGS += -L$(DUMMY_DEVICE_HOME) -lDummyDevice

---
RTDeviceClass.cpp

---
Where to put HW-Adresses, etc ?

---
MeasVoltage.cpp

---
3. getMultiplexingContext() ???

---
Cave 123
Support for 2 Different Beams
→ 2 different sets of settings-data
→ 2 different sets of acquisition-data
→ Device data needs to be 'multiplexed'
MyDevice
Some Accelerator Ring
Information which data-slot needs to be used is given by the WhiteRabbit Timing System.
This information is passed to each FESA RT- and Server action via the 'multiplexingContext'
In order to always use the same API, even data-fields which are not multiplexed need a 'multiplexingContext' when doing get/set
Beam 1 and 2
Beam 1
Beam 2

---
Part II Design Phase

---
Mission I
- Build a FESA-class in order to control an instance of a “DummyDevice”
- Initialize the hw-device in the RTDeviceClass before usage
- Measure the Voltage of “DummyDevice” once a second. ( Timer-Event-Source)
- Allow clients to display the measured data

---
Mission II
- Allow clients to set a voltage
  - For the sake of simplicity do the “hardware communication” to set the voltage in the server action
- Specify min ( 0V ) and max (100V) limits for this voltage
  - Use configuration-fields to store the min/max values
- Use the FESA-Explorer to test the specified limits
On any problems: fesa-support@gsi.de

---
Thank you for listening !!