The FESA Development Guideline

---
Topics
Topics
Overview
- Properties
- Fields
- Misc

---
Overview
Overview
- Why we need a GSI – Convention ?
- Wiki: “development workflow for productive classes”
  - Read the “FESA Development Guideline” !!
  - CSCO-AP
  - Mocking ( possibility to simulate hardware )
- “Add Class”  GSIClassTemplate
- GSI-specific-elements will be enforced for productive classes !
- Use the FESA-browser for detailed information about the xml-elements.

---
Topics
Overview
Properties
- Fields
- Misc

---
Properties
Properties

---
Properties

---
Properties

---
Properties

---
Topics
- Overview
- Properties
Fields
Misc

---
Fields
Fields

---
Fields (Status-Property)
Fields (Status-Property)
Custom-type: DEVICE_STATUS:
Enum( 0=UNKNOWN, 1=OK, 2=WARNING, 3=ERROR )
Overall-Status of the device

---
Fields (Status-Property)
Custom-type: DETAILED_STATUS_SEVERITY:
Enum( 0=INFO, 1=OK, 2=WARNING_ON_FALSE, 3=ERROR_ON_FALSE )

---
Fields (Power-Property)
Fields (Power-Property)
Custom-type: DEVICE_POWER
Enum (1=ON, 2=OFF)
Desired power-state of the device

---
Fields (Status-Property)
Custom-type: DEVICE_POWER_STATE
Enum ( 0=UNKNOWN, 1=ON, 2=OFF, 3=STANDBY, 4=POWER_DOWN, 5=POWER_UP )
power-state of the device

---
Fields (Status-Property)
Custom-type: DEVICE_CONTROL
Enum ( 0=REMOTE, 1=LOCAL )
Device is controlled locally, or via the control-system ?

---
Fields (Status-Property)

---
Fields (Status-Property)
- store last errors for the clients
- log error to central logging system

---
Fields (Acquisition-Property)
Fields (Acquisition-Property)

---
Topics
- Overview
- Properties
- Fields
Misc

---
Misc
Misc
Meta-data -
field suffixes to use:
_status
_min / _max
_toAbs
_ tolRel
_tolCheckMode
_acqStamp
_unit
Quality of Acq. Data
NOT_OK
BAD_QUALITY
DIFFERENT_FROM_SETTING
OUT_OF_RANGE
BUSY
TIMEOUT
…
… and many more standards which should be used at GSI !
For details, check the FESA-Development-Guideline in the Wiki !!

---
Thanks for your attention!
Thanks for your attention!